# Zero Control Board Web Console User Manual

Acuity / SOMS Research Platform

# 1. Overview

The Zero Control Board Web Console is a self-contained HTML application that uses the Web Serial API to operate Monodraught hardware. It delivers diagnostics, file-system tools, parameter editing, and visual control-program authoring with the SOMS Research Platform visual language.

# 2. System Requirements

Windows 10/11 with Google Chrome or Microsoft Edge (version 89+).

Zero Control Board connected via USB (Virtual COM Port).

Web Serial enabled (serve index.html from http://localhost or enable Experimental Web Platform Features).

No backend required; open index.html locally once permissions are configured.

# 3. Files Provided

| File | Description |
| --- | --- |
| index.html | SOMS-themed single-page app containing layout, CSS, and ES6 logic. |
| Zero Control Board VCP Protocol 002.pdf | Reference for every supported command and message format. |
| zero_control_gui_prompt.md | Original functional spec (useful for future maintenance). |

# 4. Getting Started

Enable Web Serial (secure origin or chrome://flags) and trust the local folder.

Connect the Zero Control Board via USB and note the COM port in Device Manager.

Open index.html in Chrome/Edge and click Connect.

Choose the intended COM port when prompted and grant access.

Optionally toggle Enable Demo Mode to explore features without hardware.

# 5. Interface Tour

## Header & Status Group

Shows connection state, selected port, and demo/hardware mode while exposing Connect/Disconnect/Demo buttons.

## Workspace Navigation

Left-side SOMS navigation switches between Diagnostics, Control Program, and Command History.

## Diagnostics Panels

System Information, File System, Configuration, Real-Time Monitor, Custom Command, and Get/Set Parameters provide targeted tooling.

## Control Program Builder

Stack command blocks, load/save JSON, and run sequences directly over Web Serial.

## Command History

A chronological table of every transmitted command with timestamp and status (sent/queued).

# 6. Web Serial Workflow

Connect: click Connect, choose the board COM port, and approve the permission dialog.

Disconnect: always use Disconnect before unplugging hardware to release the port.

Demo Mode: toggle for hardware-free walkthroughs; serial writes are bypassed while active.

Status badges: green = connected, red = disconnected, amber = demo; toast notifications confirm each action.

# 7. Diagnostics Panels

## System Information

One-click uid1/uid2/uid3, flash, uart, and version commands; output streams into the panel.

## File System

List files, read chunks using filename/offset/size, query file sizes, or format storage with confirmation.

## Configuration

Fetch full config using config or reset to defaults with default; responses render inside the panel.

## Real-Time Monitor

Select monitored parameters via chips, issue manual data snapshots, or enable auto-refresh (1-10 s).

## Custom Command

Freeform command input, send/save buttons, and a dropdown history of the last 20 entries.

## Get / Set Parameters

Multi-select GET builder plus queue-based SET builder executing batched set param=value payloads.

# 8. Control Program Workflow

Add Steps: choose set/get/delay, enter target/value, then click Add Step to grow the list.

Load/Save: import existing JSON programs or export the current sequence for reuse.

Run Program: executes steps sequentially with 220 ms spacing; delay blocks pause execution for the specified milliseconds.

Modify: remove unwanted blocks and re-add them to reorder the sequence quickly.

# 9. Logging & History

The Log Output panel captures all TX/RX lines (max 200) and supports download. Command History provides a tabular audit trail with timestamps and statuses.

# 10. Demo Mode Behavior

Demo mode seeds deterministic mock responses for every command so UX reviews and training sessions can proceed without hardware. Serial writes are skipped, preventing accidental board edits.

# 11. Troubleshooting

## Web Serial unavailable

Serve index.html via http://localhost or enable Experimental Web Platform Features.

## Connect button disabled

An active connection or demo mode is in effect; disconnect and disable demo to retry.

## Commands show no response

Confirm the correct COM port, ensure the board runs at 115200 8N1, and examine the log for errors.

## Auto-refresh stuck

Click Disable Auto Refresh or Disconnect to reset the timer before reconnecting.

# 12. Support & Next Steps

Refer to the included VCP protocol PDF for command updates. Future enhancements may include CSV telemetry logging and SOMS analytics integration.

Last updated: Generated by Codex assistant.